Table 3. Synthesis of Identification Results

| Method | Specification | Estimate | p-value | Notes |
| --- | --- | --- | --- | --- |
| Panel Regression | Primary — 18-mo. lag, ≥100 MW; avg. hourly demand | 0.029 MWh/MW | 0.063 | Min. achievable p = 0.125; stable across all 10 specs |
| Synthetic Control | SC-1 — PJM + MISO donors; avg. demand index | 23.0 index pts | 0.33 | Contaminated donors; lower bound; RMSPE = 11.09 |
| Synthetic Control | SC-3 — ISNE/NYIS/SWPP donors; avg. demand index | 24.5 index pts | 0.25 | Clean donors; gap > SC-1 confirms contamination story |
| Synthetic Control | SC-3 — ISNE/NYIS/SWPP donors; min. demand index | 34.8 index pts | 0.25 | Headline; baseload floor signature; 0 of 3 placebos exceed ERCOT |
| DiD | Low-exposure controls: ISNE, NYIS, SWPP; avg. demand index | 9.8 index pts | 0.125 | Min. achievable p = 0.125; sits above SC-1 |

Notes: Demand index normalized to 2019 average = 100. Treatment date for synthetic control and DiD is the Bai-Perron structural break date of May 2023 (UDmax = 35.39), identified before examining gap estimates. Panel regression uses wild cluster bootstrap (Webb weights, 999 reps., Stata boottest). Minimum achievable p-value: 0.125 with 3 clusters (panel regression, DiD); 0.33 with 3 donor units (synthetic control). SC-1 donor pool (PJM, MISO) is contaminated by data center investment — reported as an explicit lower bound. SC-3 restricts donors to ISNE, NYIS, and SWPP (low-exposure by LBNL queue filings). Ordering SC-1 < SC-3 < DiD confirms contaminated donors suppress the SC-1 estimate. Headline result (bold row): SC-3 minimum demand specification isolates the always-on baseload floor by removing weather-driven load variation.