AI Infrastructure & Regional Electricity Demand

A Forecasting Framework for U.S. Grid Stress

Alan Lamb  |  Lambcast Applied Economics  |  M.S. Applied Economics, University of Maryland  |  2026

Master Project Document  —  Version 6.0  |  Updated March 2026

Design Note (v6, March 2026): Phase 2 empirical analysis is complete. The headline finding is the minimum demand baseload floor divergence in ERCOT — a 34.8 index point gap using the clean donor SC-3 specification, with zero placebos exceeding ERCOT's gap. The panel regression documents the limits of TWFE with 3 units and a level-shift treatment — a methodological finding, not a failure. Phase 3 expands the design in three directions: CAISO as a second treated unit, narrative validation overlay, and the full forecasting pipeline.

# Executive Summary

This project quantifies the relationship between data center investment and regional electricity demand growth, then builds a forward-looking grid stress forecast for three major U.S. electricity markets: PJM (Mid-Atlantic/Midwest), ERCOT (Texas), and MISO (Southeast/Midwest), with CAISO (California) added as a second treated unit in Phase 3.

The paper combines a four-layer identification strategy with a production-grade forecasting pipeline. It documents — as an explicit research finding — that causal identification of the data center demand effect is not currently possible with public data alone, and argues this gap represents a significant policy problem. The headline empirical result is the minimum demand baseload floor divergence in ERCOT: a 34.8 index point gap versus the synthetic counterfactual, representing the always-on load signature of data center infrastructure.

The project serves two audiences simultaneously. For Amazon Applied Science and industry hiring teams, it demonstrates end-to-end ownership of a production-style data pipeline. For research-oriented teams, it demonstrates multi-method identification, honest documentation of identification limits, and a rigorous forecasting methodology.

# Core Research Question

How much has data center investment driven regional electricity demand growth — and can we build a model that forecasts future grid stress from the existing investment pipeline?

# What This Paper Claims and Does Not Claim

## Claims

- Data center investment is a primary driver of electricity demand growth in ERCOT, with a measurable baseload floor signature in minimum hourly demand

- The minimum demand synthetic control gap (34.8 index points, SC-3) is the headline causal estimate — it isolates always-on infrastructure load from weather-driven variation

- The generation interconnection queue is a measurable leading indicator of future grid stress

- A four-layer identification strategy produces a credible estimated range, even without clean causal identification

- Causal identification of the per-facility demand effect requires project-level load data that does not currently exist in public form

## Does Not Claim

- A precise causal estimate of MW demand per data center (data does not support this)

- That the generation queue directly measures data center load (acknowledged proxy)

- Findings that generalize beyond the target markets without further analysis

# Key Empirical Results (Phase 2 — Complete)

Headline finding: Minimum demand baseload floor divergence. ERCOT minimum hourly demand diverged 34.8 index points above the synthetic counterfactual (SC-3 clean donor pool). Zero of three placebos exceed ERCOT's gap. This is the always-on, weather-invariant load signature of data center infrastructure.

## Layer 1 — Panel Regression

Result: Primary coefficient 0.029, wild bootstrap p = 0.063. Full four-panel robustness table completed (lag sensitivity, MW threshold, control specification, queue variable).

- TWFE with 3 units and a level-shift treatment has limited power — this is documented as a methodological finding

- Minimum p-value with 3 clusters is 0.125 under wild cluster bootstrap — reported explicitly

- Coefficient stability across specifications is the evidence, not a p-value threshold

## Layer 2a — Synthetic Control, Average Demand

Result: SC-3 gap of 24.5 index points using ISNE/NYIS/SWPP donor pool. Zero placebos exceed ERCOT's gap. p = 0.25.

- SC-1 (PJM+MISO only) confirms contaminated donor lower bound story

- SC-3 clean donor pool gives largest gap — ordering consistent with contamination hypothesis

## Layer 2b — Synthetic Control, Minimum Demand (Headline)

Result: SC-3 gap of 34.8 index points. Zero placebos exceed ERCOT's gap. p = 0.25. Bai-Perron break confirmed at 2023m5, UDmax 35.39.

- Minimum demand isolates baseload floor — weather variation removed, data center always-on signature isolated

- Gap larger than average demand SC — consistent with always-on infrastructure hypothesis

- This is the paper's headline empirical result

## Layer 3 — DiD with Low-Exposure Controls

Result: Coefficient 9.8 index points, p = 0.125 (minimum achievable with cluster count).

- Low-exposure BAs: ISNE, NYIS, SWPP — classified by cumulative 100MW+ filings from LBL data

- Estimate sits above synthetic control gap — confirms contamination lower bound story

## Layer 4 — Narrative Validation

Status: Pending. Energization overlay figure to be added in Phase 3.

- Target facilities: Google Midlothian, Microsoft San Antonio, Meta Fort Worth, QTS Irving, Switch San Antonio

- Will be overlaid as vertical markers on the minimum demand gap plot

## Stata Do-Files (scripts/)

- phase2_panel_regression.do — Layer 1 full specification and robustness table

- phase2_synthetic_control.do — Layer 2a average demand SC, three donor pool specs

- phase2_sc_mindemand.do — Layer 2b minimum demand SC, headline result

- phase2_did.do — Layer 3 DiD with low-exposure controls

# Identification Strategy

The paper uses four complementary methods to build a credible estimated range for the demand effect of data center investment. No single method provides clean causal identification with available public data. Convergence across methods — with the expected ordering of estimates — confirms the lower bound story.

Expected ordering confirmed: Synthetic control (lowest, contaminated donors) → Panel regression (middle) → DiD with clean controls (highest). SC-3 with clean donors gives larger gaps than SC-1 — confirms contamination was suppressing the baseline estimate.

## Layer 1: Panel Regression

- Primary regressor: queue_mw_filed_large (100MW+ projects, histogram-confirmed threshold)

- Primary lag: 18 months. Robustness at 12, 24, 30 months.

- Controls: HDD, CDD, regional GDP. Fixed effects: BA-level and month-year.

- Inference: wild cluster bootstrap via Stata boottest. Minimum p-value 0.125 reported explicitly.

- Methodological finding: TWFE has limited power with 3 units and level-shift treatment — documented, not hidden.

## Layer 2: Synthetic Control

- Average demand SC-3 gap: 24.5 index points. Minimum demand SC-3 gap: 34.8 index points (headline).

- Treatment date: Bai-Perron break at 2023m5, UDmax 35.39.

- Three donor pool specs: SC-1 (PJM+MISO, contaminated lower bound), SC-2 (expanded), SC-3 (ISNE/NYIS/SWPP, cleanest).

- In-space placebo tests: zero placebos exceed ERCOT's gap in SC-3 specification.

## Layer 3: DiD with Low-Exposure Controls

- Low-exposure BAs: ISNE, NYIS, SWPP — classified by cumulative 100MW+ filings.

- Coefficient 9.8 index points, p = 0.125. Estimate sits above SC gap — confirms lower bound story.

## Layer 4: Narrative Validation

- Known ERCOT data center energizations overlaid on minimum demand gap plot — Phase 3 deliverable.

- Target: Google Midlothian, Microsoft San Antonio, Meta Fort Worth, QTS Irving, Switch San Antonio.

# Robustness Checks

Four-panel robustness table completed. Every specification reported — no selective reporting.

| Panel | What varies |
| --- | --- |
| Lag sensitivity | 12, 18, 24, 30-month lags — primary at 18 months |
| MW threshold | 50MW, 100MW (histogram-confirmed), 200MW |
| Control specification | With/without GDP; BA linear and quadratic time trends |
| Queue variable | Flow vs stock; all projects vs large only (100MW+) |

# Phase 3 — Expanded Plan

Phase 3 expands the design in four directions, building on the confirmed Phase 2 results.

## Direction 1 — CAISO as Second Treated Unit

California's data center market is large and growing with a completely different regulatory structure from ERCOT. Adding CAISO enables a comparative institutional analysis: how did different regulatory environments produce different demand responses to similar investment surges?

- Confirm CAISO coverage in EIA Form 930 data

- Classify CAISO as treated or donor based on LBL queue filing history

- Add CAISO to panel with HDD/CDD/GDP controls

- Run Bai-Perron structural break test on CAISO demand

- Run synthetic control with CAISO as treated unit

- Produce comparative gap plots: ERCOT vs CAISO treatment effects

- Comparative institutional analysis: deregulated (ERCOT) vs regulated (CAISO) demand response

## Direction 2 — Narrative Validation Overlay

Add known large ERCOT data center energization dates as vertical markers on the minimum demand gap plot.

- Target facilities: Google Midlothian, Microsoft San Antonio, Meta Fort Worth, QTS Irving, Switch San Antonio

- Connects statistical finding to documented real-world events

- Mechanism evidence without a complete facility census

## Direction 3 — Forecasting Pipeline

Three-model stack translating the current queue pipeline into projected regional demand growth with uncertainty bounds.

- ARIMA baseline — no queue variable. Establishes the floor. Measures prediction from historical patterns alone.

- Prophet — queue as external regressor. Handles seasonality natively. Isolates queue contribution.

- XGBoost — full feature set. All lag specs, stock and flow variables, weather, economic controls. Primary forecast model.

- Out-of-sample validation on 2024-2025 holdout period

- ARIMA-to-XGBoost improvement quantifies the informational value of public queue data disclosure — the quantitative data gap argument

- Output: regional demand projections through 2027-2028 with uncertainty bounds by BA

## Direction 4 — Hex Dashboard

Interactive regional forecast visualization. Built after paper draft is complete.

- Regional demand forecast by balancing authority with uncertainty bounds

- Queue pipeline visualization — current active MW by BA

- Comparative ERCOT vs CAISO institutional analysis panel

# Paper Structure

- Abstract

- Introduction — motivation, data center investment boom, grid stress stakes

- Related Literature — Johnston/Liu/Yang supply-side queue work; energy demand forecasting; data center load literature

- Data — EIA Form 930, UMD/LBL queue data, NOAA weather, BEA GDP; honest accounting of what exists and does not

- The Data Gap — why clean causal identification is not currently possible; what data would be needed; policy implications

- Empirical Strategy — four-layer logic stated explicitly before results

- Descriptive Evidence — regional demand growth patterns; queue investment trends; co-movement charts

- Panel Regression — conditional association estimate, wild cluster bootstrap, robustness table, methodological finding

- Synthetic Control — average demand and minimum demand gap plots; lower bound framing; Bai-Perron break date

- DiD with Low-Exposure Controls — parallel trends, treatment effect, ordering confirmation

- Comparative Analysis — ERCOT vs CAISO institutional comparison (Phase 3)

- Synthesis — estimated range across methods, convergence, headline minimum demand result

- Forecasting Model — ARIMA/Prophet/XGBoost stack, out-of-sample validation, grid stress projections

- Conclusion — policy implications, data disclosure recommendations, future work

- References

# Data Audit

| Dataset | Status | Notes |
| --- | --- | --- |
| EIA Form 930 | ✅ IN HAND | 184,102 rows. Hourly demand PJM/ERCO/MISO, 2019–2025. |
| UMD PJM Queue 2008–2024 | ✅ IN HAND | 7,492 rows, 121 columns. NSF-funded. |
| LBL Queued Up 2024 | ✅ IN HAND | 16,093 rows after filtering to PJM/MISO/ERCOT, epoch dates removed. |
| panel_base.csv | ✅ BUILT | 252 rows, 17 cols, 3 BAs x 84 months. Demand + queue flow/stock + lags. |
| panel_with_controls.csv | ✅ BUILT | 252 rows. Adds HDD/CDD/GDP controls. |
| panel_expanded.csv | ✅ BUILT | 504 rows, 6 BAs. Expanded donor pool including ISNE/NYIS/SWPP. |
| panel_load_shape.csv | ✅ BUILT | 252 rows. Adds load shape variables including minimum hourly demand. |
| NOAA Weather (HDD/CDD) | ✅ IN HAND | Pulled and merged onto panel. |
| BEA Regional GDP | ✅ IN HAND | Pulled and merged onto panel. |
| CAISO EIA demand | ⏳ PENDING | Phase 3 — confirm coverage and pull. |
| ERCOT/PJM/MISO large load queue | ❌ NOT USABLE | PDFs only. Documented as data gap finding. |

# Master Project Checklist

## Phase 1: Data Infrastructure — ✅ Complete

| # | Task | Phase | Status |
| --- | --- | --- | --- |
| 1.1 | Register for EIA API key | Phase 1 | ✅ Done |
| 1.2 | Pull EIA Form 930 — 184,102 rows, PJM/ERCO/MISO, 2019–2025 | Phase 1 | ✅ Done |
| 1.3 | Download UMD PJM queue dataset | Phase 1 | ✅ Done |
| 1.4 | Load and explore LBL Queued Up 2024 — extract to CSV | Phase 1 | ✅ Done |
| 1.5 | Pull NOAA weather data (HDD/CDD) by BA-month | Phase 1 | ✅ Done |
| 1.6 | Pull BEA regional GDP and merge onto panel | Phase 1 | ✅ Done |
| 1.7 | Build explore_eia.py — 3 demand charts committed | Phase 1 | ✅ Done |
| 1.8 | Build explore_queue.py — 3 queue charts committed | Phase 1 | ✅ Done |
| 1.9 | Build build_panel.py — 252-row panel_base.csv | Phase 1 | ✅ Done |
| 1.10 | Build histogram of project MW sizes — confirm 100MW threshold | Phase 1 | ✅ Done |
| 1.11 | Document the data gap: load-side queue data does not exist | Phase 1 | ✅ Done |

## Phase 2: Identification Strategy — ✅ Complete

| # | Task | Phase | Status |
| --- | --- | --- | --- |
| 2.1 | Bai-Perron structural break test on ERCOT demand — break at 2023m5, UDmax 35.39 | Phase 2 | ✅ Done |
| 2.2 | Panel regression (Layer 1): coefficient 0.029, bootstrap p=0.063 | Phase 2 | ✅ Done |
| 2.3 | Four-panel robustness table: lag, MW threshold, controls, queue variable | Phase 2 | ✅ Done |
| 2.4 | Synthetic control average demand (Layer 2a): SC-3 gap 24.5 index points, p=0.25 | Phase 2 | ✅ Done |
| 2.5 | Synthetic control minimum demand (Layer 2b): SC-3 gap 34.8 index points, p=0.25 — headline result | Phase 2 | ✅ Done |
| 2.6 | DiD with low-exposure controls (Layer 3): coefficient 9.8 index points, p=0.125 | Phase 2 | ✅ Done |
| 2.7 | Classify low-exposure BAs from LBL data: ISNE, NYIS, SWPP confirmed | Phase 2 | ✅ Done |
| 2.8 | Commit four do-files to scripts/: panel, SC avg, SC min, DiD | Phase 2 | ✅ Done |
| 2.9 | Repo clean on main, fresh dev branch for Phase 3 | Phase 2 | ✅ Done |
| 2.10 | Narrative validation overlay (Layer 4) | Phase 2 | ⏳ Phase 3 |

## Phase 3: Expanded Analysis — In Progress

| # | Task | Phase | Status |
| --- | --- | --- | --- |
| 3.1 | Confirm CAISO coverage in EIA Form 930 | Phase 3 | Not started |
| 3.2 | Classify CAISO exposure using LBL queue filing history | Phase 3 | Not started |
| 3.3 | Pull CAISO demand and add to panel with controls | Phase 3 | Not started |
| 3.4 | Run Bai-Perron structural break test on CAISO demand | Phase 3 | Not started |
| 3.5 | Run synthetic control with CAISO as treated unit | Phase 3 | Not started |
| 3.6 | Produce comparative ERCOT vs CAISO gap plots | Phase 3 | Not started |
| 3.7 | Narrative validation: overlay ERCOT energizations on minimum demand gap plot | Phase 3 | Not started |
| 3.8 | Build ARIMA baseline forecast — no queue variable | Phase 3 | Not started |
| 3.9 | Build Prophet model — queue as external regressor | Phase 3 | Not started |
| 3.10 | Build XGBoost model — full feature set from queue pipeline | Phase 3 | Not started |
| 3.11 | Out-of-sample validation on 2024–2025 holdout | Phase 3 | Not started |
| 3.12 | Produce regional demand projections through 2027–2028 with uncertainty bounds | Phase 3 | Not started |
| 3.13 | Quantify ARIMA-to-XGBoost improvement as data gap policy argument | Phase 3 | Not started |
| 3.14 | Write and publish Post 2: methodology writeup | Phase 3 | Not started |
| 3.15 | Write and publish Post 3: preliminary results | Phase 3 | Not started |
| 3.16 | Write and publish Post 4: forecasting results | Phase 3 | Not started |

## Phase 4: Dashboard, Paper & Publication

| # | Task | Phase | Status |
| --- | --- | --- | --- |
| 4.1 | Build Hex dashboard: regional forecast by BA | Phase 4 | Not started |
| 4.2 | Write full paper draft: all sections | Phase 4 | Not started |
| 4.3 | Format to NBER working paper conventions | Phase 4 | Not started |
| 4.4 | Submit to SSRN; obtain citable URL | Phase 4 | Not started |
| 4.5 | Publish final PDF on lambcast.net | Phase 4 | Not started |
| 4.6 | Write and publish Post 5: SSRN submission + dashboard launch | Phase 4 | Not started |
| 4.7 | Add project to resume and LinkedIn | Phase 4 | Not started |
| 4.8 | Email Chenyu Yang (UMD) with paper and results | Phase 4 | Not started |
| 4.9 | Send paper to Aparna Mathur (AEI) and Amazon/Anthropic contacts | Phase 4 | Not started |

# Tool Stack

| Tool | Role | Notes |
| --- | --- | --- |
| Python | Core language | API pulls, data cleaning, panel construction, forecasting models. |
| Stata | Econometrics | Panel regression, wild cluster bootstrap (boottest), synthetic control, DiD. |
| SQL / BigQuery | Warehouse layer | Storage and querying of merged panel at scale. |
| PySpark | Distributed compute | Feature engineering on full EIA hourly dataset. |
| Hex | Dashboard | Interactive regional forecast visualization. |
| Git / GitHub | Version control | Feature branch workflow — dev branch for Phase 3. |
| SSRN | Publication | Working paper submission for citable URL. |

# Why This Project Is Strategically Distinctive

- Minimum demand baseload floor result is a genuinely novel finding — isolates always-on infrastructure load signature without facility-level data

- Four-layer identification strategy produces a credible estimated range — more sophisticated than a single method with overclaimed precision

- CAISO comparative institutional analysis adds a second contribution — deregulated vs regulated demand response to identical investment pressure

- Honest documentation of TWFE limits with 3 units — stating this explicitly is a mark of research integrity, not a weakness

- Real data gap as policy finding — absence of project-level load queue data across ~70% of U.S. load is regulatory failure, documented and argued

- Timely — ERCOT queue filings hit 97 GW in 2024; PJM capacity prices jumped from $30 to $330/MW-day

- End-to-end — raw API ingestion → panel construction → four identification layers → forecasting → dashboard → published paper

# Network & Outreach Targets

- Chenyu Yang, UMD Economics — co-author of UMD interconnection queue dataset; email when Phase 3 results ready

- Aparna Mathur, AEI — send final paper when complete

- Amazon Applied Science recruiting — emphasize pipeline, forecasting, BigQuery, PySpark, dashboard

- Anthropic Economics team — paper + SSRN URL; emphasize multi-method identification and honest methodology

Document version 6.0  |  Updated March 2026  |  lambcast.net  |  github.com/Lambcast/ai-infrastructure-regional-electricity-demand